Intelligent Anti-Corrosion Shaking Water Bath

Model: LW-20 Brand: LabTech Manufacturer: LabTech

1. Purpose:

Specifically designed for applications requiring the addition of corrosive reagents like strong acids and alkalis. It provides a fully plastic-structured anti-corrosion workspace, effectively solving the problem of metal bath corrosion.

2. Technical Parameters

- Temperature control range: Ambient temperature +5°C ~ 100°C; Temperature control accuracy: ±0.2°C

- Temperature control method: Intelligent PID control (LCD digital display)

- Heating power: 2600 W

- ★ Bath material: Stainless steel coated with Teflon, resistant to various strong acids and alkalis

- ★ Fully plastic operation platform, no exposed metal parts, suitable for highly acidic working environments

- Equipped with a transparent, corrosion-resistant polycarbonate reflux protection cover for easy observation

- Corrosion-resistant all-plastic three-layer test tube rack for more stable operation; Optional tube positions: 60 positions (50 mL) or 112 positions (15 mL)

- Bath volume: 20 L; Bath dimensions (LWH): 500 mm × 300 mm × 150 mm

- Shaking function: Reciprocal shaking mode, shaking amplitude 20 mm, shaking frequency 20 ~ 300 rpm/min, optional intermittent shaking mode

- ★ Fully automatic intelligent scheduled start-up enables unattended operation, autonomously starting experiments, improving work efficiency

- Timer function, multiple timing modes: Independent time settings for temperature and shaking, offering more flexible operation

- Power-off memory function: Automatically resumes operation after a sudden power failure and restoration, no need to reset

- Dry burn protection design, fault self-check: Multiple fault self-checks; if problems occur, error codes are displayed directly on the controller screen

Configuration List:
1 unit Intelligent Anti-Corrosion Shaking Water Bath, 1 All-plastic transparent material reflux protection cover, 1 set 60-position all-plastic test tube rack