Hot Plate EH20R

Technical Parameters:

- ★ Heat transfer material: Aluminum alloy with Teflon anti-corrosion coating; electric heating tubes cast within the aluminum alloy

- Temperature control range: Ambient temperature ~ 200°C; Heating power: 2000 W

- Intelligent PID microchip temperature control technology ensures minimal temperature overshoot and high control accuracy; Temperature control accuracy: ±2°C

- Heating plate surface size: 400 × 300 mm; Built-in control; LCD digital display for temperature control

- Separated design of heating section and electronic control section effectively prevents damage to electronic components from high temperature; Ergonomic design certified by design patent

- Overheat protection function; Over-temperature buzzer alarm function

- ★ Intelligent timer operation function, timer range: 1 minute ~ 99 hours 59 minutes

- ★ Remote control function; 2.4GHz wireless command transmission; allows temperature adjustment and monitoring via remote terminal for convenient operation

- ★ Advanced heating technology certified by utility model patent

- Manufacturer certified under ISO9001 production management system