Hot Plate EG34A Plus

Technical Parameters:

- ★ Heat transfer material: High-purity graphite, providing uniform and rapid heat transfer with excellent chemical corrosion resistance

- ★ Temperature control range: Ambient temperature ~ 340°C; Heating power: 3600 W

- Temperature control accuracy: ±5°C; LED digital display for temperature control

- Heating plate surface size: 600 × 400 mm

- ★ Split control design; external controller can be placed outside the fume hood to avoid damage from corrosive reagents; connecting cable between controller and main unit is longer than 1.6 m

- Main unit circuit box features fully sealed anti-corrosion design; terminal blocks sealed with PTFE material for corrosion resistance

- Dual insulation layer design between the main unit circuit box and heating module prevents damage to electronic components from high temperatures; insulation layers supported by anti-corrosion ceramic pillars

- Overheat protection function; Over-temperature alarm function

- ★ Advanced heating technology certified by utility model patent

- Manufacturer certified under ISO9001 production management system