Acid Evaporator VB15

Technical Parameters:

- ★ Temperature control range: Ambient temperature ~ 210°C; Heating material: Aluminum alloy surface sprayed with Teflon anti-corrosion coating

- Temperature control method: Intelligent PID microchip control, Temperature control accuracy: ±1°C; LCD digital display

- Temperature difference between wells: ≤ ±1.0°C

- ★ Number of sample wells: 15; Sample well specification (Diameter × Depth): 38.5 × 110 mm

- The entire unit undergoes anti-corrosion treatment; the operating surface is sprayed with a Teflon anti-corrosion coating

- Features overheat protection and an over-temperature buzzer alarm function

- ★ Intelligent timing function, Timer range: 1 minute ~ 99 hours 59 minutes

- Manufacturer is certified under the ISO9001 quality system