LabTech Acoustic Enclosure AE150A

Technical Specifications:

- Wavy sound-absorbing cotton, effective noise reduction, can reduce noise by 10-20dB

- ★Equipped with both intake fan and exhaust fan; Number of fans: ≥2

- ★Air flow rate: ≥300 m³/h

- Air exchange rate: ≥34 times/minute

- Intelligent temperature monitoring with digital temperature display

- ★Real-time sensing of vacuum pump operational status; Fans automatically start when temperature exceeds 30°C

- High-temperature buzzer alarm function

- Equipped with casters for easy mobility; casters feature a braking function

LabTech Acoustic Enclosure AE150E

Technical Specifications:

- Wavy sound-absorbing cotton, effective noise reduction, can reduce noise by 10-20dB

- ★Equipped with both intake fan and exhaust fan; Number of fans: ≥2

- ★Air flow rate: ≥300 m³/h

- Intelligent temperature monitoring with digital temperature display

- ★Real-time sensing of vacuum pump operational status; Fans automatically start when temperature exceeds 30°C

- High-temperature buzzer alarm function

- Equipped with casters for easy mobility; casters feature a braking function