Hot Plate EG37C

Technical Parameters:

- ★ Heat transfer material: High-purity graphite surface sprayed with high-temperature anti-corrosion coating, ensuring uniform and rapid heat transfer while effectively preventing contamination from graphite powder

- ★ High anti-corrosion grade; all exposed components treated with PTFE/high-temperature anti-corrosion coating spray; no exposed metal parts

- Temperature control range: Ambient temperature ~ 370°C; Heating power: 3200 W; Temperature control accuracy: ±2°C; LCD digital display for temperature control; intelligent PID microchip temperature control technology

- Heating plate surface size: 540 × 360 mm

- ★ Split control design; external controller can be placed outside the fume hood to avoid damage from corrosive reagents; connecting cable between controller and main unit is longer than 1.6 m

- Main unit circuit box features fully sealed anti-corrosion design; terminal blocks sealed with PTFE material for corrosion resistance

- Dual insulation layer design between the main unit circuit box and heating module prevents damage to electronic components from high temperatures; insulation layers supported by anti-corrosion ceramic pillars

- Overheat protection function; Over-temperature alarm function

- Entire unit undergoes anti-corrosion treatment

- ★ Intelligent timer operation mode, timer range: 1 min ~ 99 h 59 min

- ★ Advanced heating technology certified by utility model patent

- Manufacturer certified under ISO9001 production management system