Rotary Evaporator EV50

Technical Parameters:

- ▲Lifting Method: Motorized automatic lifting, lifting stroke 200mm

- ▲Rotation Speed Range: 0-150 rpm

- Condenser: Vertical triple serpentine condenser, condensation area 2.0 m²

- ▲Equipped with a secondary condensation recovery device, increasing the condensation area and ensuring sample recovery rate

- Evaporation Flask Capacity: 50L

- Collection Flask Capacity: 20L

- ▲▲Uniquely designed collection flask device allows for continuous distillation under stable vacuum without stopping the process to drain distillate from the receiving flask

- ▲Bath Temperature Range: Room temperature ~ 180°C, with water/oil bath switching function; Bath Capacity: 55.6L; Bath Material: 304 Stainless Steel

- Bath Temperature Control Method: Intelligent PID control; Control Accuracy: ±1°C (water), ±2°C (oil)

- Bath features dry-burn protection with automatic heating stop; Water bath has high-temperature audible alarm

- Built-in digital vacuum controller

- ▲▲7-inch color touchscreen controller, displays multiple parameters such as vacuum level and rotation speed digitally simultaneously, features built-in graphical distillation curves

- ▲▲Gradient distillation mode, programmable with up to 100 segments for automatic vacuum control

- Intelligent timed distillation function

- USB data interface for easy export of experimental data

- Intelligent vacuum system, where the vacuum controller can start/stop the vacuum pump, reducing laboratory noise and vibration, and extending the vacuum pump's service life

Configuration:

- 1 Rotary evaporator main unit, including 1 heating oil bath, 1 set of built-in digital vacuum controller, 1 set of color touchscreen controller

- 1 set of Vertical triple serpentine condenser

- 1 Evaporation rotating flask (50L)

- 1 Collection flask (20L)