Vacuum Pump VP18 Plus

Technical Parameters:

- Power: 140W

- ★ Ultimate Vacuum: 20 mbar, Pumping Speed: 18 L/min

- ★ Oil-free pumping, energy-saving and environmentally friendly, simple and convenient maintenance

- Analog pressure gauge displays system vacuum in real-time

- ★ Pressure adjustment knob allows on-demand vacuum regulation, adjustable range from 20 mbar to atmospheric pressure