Vacuum Pump VP20 Plus

Technical Parameters:

- Power: 280W

- ★ Ultimate Vacuum: 5 mbar, Pumping Speed: 20 L/min

- Oil-free pumping, energy-saving and environmentally friendly, simple and convenient maintenance

- ★ Two-stage pump structure with dual-stage pressure reduction, combines high pumping speed with low ultimate vacuum

- ★ Pressure adjustment knob allows on-demand vacuum regulation, adjustable range from 5 mbar to atmospheric pressure